AN ACT providing that after december 31, 2012, landlords shall, when installing a new smoke alarm or replacing an existing smoke alarm, install a TAMPER‑RESISTANT, ten‑year lithium battery smoke alarm except in certain cases, and providing that landlords may deduct from the tenant security deposit damage to a smoke alarm or carbon monoxide alarm, as recommended by the north carolina child fatality task force.

The General Assembly of North Carolina enacts:

SECTION 1.  G.S. 42‑42 reads as rewritten:
"§ 42‑42.  Landlord to provide fit premises.
(a)	The landlord shall:
…
(5)	Provide operable smoke alarms, either battery‑operated or electrical, having an Underwriters' Laboratories, Inc., listing or other equivalent national testing laboratory approval, and install the smoke alarms in accordance with either the standards of the National Fire Protection Association or the minimum protection designated in the manufacturer's instructions, which the landlord shall retain or provide as proof of compliance. The landlord shall replace or repair the smoke alarms within 15 days of receipt of notification if the landlord is notified of needed replacement or repairs in writing by the tenant. The landlord shall ensure that a smoke alarm is operable and in good repair at the beginning of each tenancy. Unless the landlord and the tenant have a written agreement to the contrary, the landlord shall place new batteries in a battery‑operated smoke alarm at the beginning of a tenancy and the tenant shall replace the batteries as needed during the tenancy, except where the smoke alarm is a tamper‑resistant, 10‑year lithium battery smoke alarm as required by subdivision (5a) of this subsection. Failure of the tenant to replace the batteries as needed shall not be considered as negligence on the part of the tenant or the landlord. 
(5a)	After December 31, 2012, when installing a new smoke alarm or replacing an existing smoke alarm, install a tamper‑resistant, 10‑year lithium battery smoke alarm. However, the landlord shall not be required to install a tamper‑resistant, 10‑year lithium battery smoke alarm as required by this subdivision in either of the following circumstances:a.	The dwelling unit is equipped with a hardwired smoke alarm with a battery backup.
b.	The dwelling unit is equipped with a smoke alarm combined with a carbon monoxide alarm that meets the requirements provided in subdivision (7) of this section.
…
(7)	Provide a minimum of one operable carbon monoxide alarm per rental unit per level, either battery‑operated or electrical, that is listed by a nationally recognized testing laboratory that is OSHA‑approved to test and certify to American National Standards Institute/Underwriters Laboratories Standards ANSI/UL2034 or ANSI/UL2075, and install the carbon monoxide alarms in accordance with either the standards of the National Fire Protection Association or the minimum protection designated in the manufacturer's instructions, which the landlord shall retain or provide as proof of compliance. A landlord that installs one carbon monoxide alarm per rental unit per level shall be deemed to be in compliance with standards under this subdivision covering the location and number of alarms. The landlord shall replace or repair the carbon monoxide alarms within 15 days of receipt of notification if the landlord is notified of needed replacement or repairs in writing by the tenant. The landlord shall ensure that a carbon monoxide alarm is operable and in good repair at the beginning of each tenancy. Unless the landlord and the tenant have a written agreement to the contrary, the landlord shall place new batteries in a battery‑operated carbon monoxide alarm at the beginning of a tenancy, and the tenant shall replace the batteries as needed during the tenancy. Failure of the tenant to replace the batteries as needed shall not be considered as negligence on the part of the tenant or the landlord. A carbon monoxide alarm may be combined with smoke alarms if the combined alarm does both of the following: (i) complies with ANSI/UL2034 or ANSI/UL2075 for carbon monoxide alarms and ANSI/UL217 for smoke alarms; and (ii) emits an alarm in a manner that clearly differentiates between detecting the presence of carbon monoxide and the presence of smoke. This subdivision applies only to dwelling units having a fossil‑fuel burning heater, appliance, or fireplace, and in any dwelling unit having an attached garage. Any operable carbon monoxide detector installed before January 1, 2010, shall be deemed to be in compliance with this subdivision.
…."
SECTION 2.  G.S. 42‑43 reads as rewritten:
"§ 42‑43.  Tenant to maintain dwelling unit.
(a)	The tenant shall:
…
(4)	Not deliberately or negligently destroy, deface, damage, or remove any part of the premises, nor render inoperable the smoke alarm or carbon monoxide alarm provided by the landlord, or knowingly permit any person to do so.
…
(7)	Notify the landlord, in writing, of the need for replacement of or repairs to a smoke alarm or carbon monoxide alarm. The landlord shall ensure that a smoke alarm and carbon monoxide alarm are operable and in good repair at the beginning of each tenancy. Unless the landlord and the tenant have a written agreement to the contrary, the landlord shall place new batteries in a battery‑operated smoke alarm and battery‑operated carbon monoxide alarm at the beginning of a tenancy and the tenant shall replace the batteries as needed during the tenancy, except where the smoke alarm is a tamper‑resistant, 10‑year lithium battery smoke alarm as required by G.S. 42‑42(a)(5a). Failure of the tenant to replace the batteries as needed shall not be considered as negligence on the part of the tenant or the landlord.
…."
SECTION 3.  G.S. 42‑44 reads as rewritten:
"§ 42‑44.  General remedies, penalties, and limitations.
…
(a1)	If a landlord fails to provide, install, replace, or repair a smoke alarm under the provisions of G.S. 42‑42(a)(5) or a carbon monoxide alarm under the provisions of G.S. 42‑42(a)(7) within 30 days of having received written notice from the tenant or any agent of State or local government of the landlord's failure to do so, the landlord shall be responsible for an infraction and shall be subject to a fine of not more than two hundred fifty dollars ($250.00) for each violation. After December 31, 2012, if the landlord installs a new smoke alarm or replaces an existing smoke alarm, the smoke alarm shall be a tamper‑resistant, 10‑year lithium battery smoke alarm, except as provided in G.S. 42‑42(a)(5a). The landlord may temporarily disconnect a smoke alarm or carbon monoxide alarm in a dwelling unit or common area for construction or rehabilitation activities when such activities are likely to activate the smoke alarm or carbon monoxide alarm or make it inactive.
(a2)	If a smoke alarm or carbon monoxide alarm is disabled or damaged, other than through actions of the landlord, the landlord's agents, or acts of God, the tenant shall reimburse the landlord the reasonable and actual cost for repairing or replacing the smoke alarm or carbon monoxide alarm within 30 days of having received written notice from the landlord or any agent of State or local government of the need for the tenant to make such reimbursement. If the tenant fails to make reimbursement within 30 days, the tenant shall be responsible for an infraction and subject to a fine of not more than one hundred dollars ($100.00) for each violation. The tenant may temporarily disconnect a smoke alarm or carbon monoxide alarm in a dwelling unit to replace the batteries or when it has been inadvertently activated.
…."
SECTION 4.  Sections 1 through 3 of this act become effective December 31, 2012. The remainder of this act is effective when it becomes law.
In the General Assembly read three times and ratified this the 21st day of June, 2012.

	s/	 Walter H. Dalton
	 President of the Senate

	s/	 Thom Tillis
	 Speaker of the House of Representatives

	_____________________________________
		 Beverly E. Perdue
	 Governor

Approved __________.m. this ______________ day of ___________________, 2012